## Comparison
[6 empty] | High temp emitters | Medium temp emitters | Low temp emitters
[6 empty] | Beseboard / Radiator | Heat pump convector / fan coil / air handler | Radiant floor | Cold climate operation
| Leaving Water Temperature (F) |  |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Max. LWT | Min. LWT at lowest ambient operating temp | Δ LWT (Max/Min) | Lowest Ambient operating temp
Daikin UPRA043DAVK | 160 | 150 | 93.75% | -18 | Daikin UPRA043DAVK | 150 | 150 | 150 | -18.1
Viessmann | 140 | 130 | 92.86% | -15 | Viessmann | 130 | 130 | 130 | -18
Spacepak | 130 | 95 | 73.08% | -20 | Spacepak | 95 | 95 | 95 | 5
LG | 150 | 120 | 80% | -15 | LG | 120 | 120 | 120 | 5
Lochinvar | 140 | 120 | 85.71% | -5 | Lochinvar | 120 | 120 | 120 | 5
NTI | 140 | 120 | 85.71% | -15 | NTI | 120 | 120 | 120 | 10
| Heating Capacity at 131F LWT (BTU) |  |  |  |  | Size
| Max. Heating Capacity | Min. Heating Capacity at lowest ambient operating temp | Δ Heating Capacity (Max/Min) | Lowest Ambient operating temp |  | Single fan | No glycol | Warrenty | Boiler replacement
Daikin UPRA043DAVK | 43000 | 31000 | 12000 | -18 | Daikin UPRA043DAVK |  |  |  | 150
Viessmann | 41000 | 10000 | 31000 | -18 | Viessmann |  |  |  | 130
Spacepak | 40000 | 18000 | 22000 | 5 | Spacepak |  |  |  | 95
LG | 41000 | 38000 | 3000 | 5 | LG |  |  |  | 120
Lochinvar | 40000 | 26000 | 14000 | 5 | Lochinvar |  |  |  | 120
NTI | 65000 | 32000 | 33000 | 10 | NTI |  |  |  | 120
Cooling Capacity (F)
| Max. Cooling Capacity | Min. Cooling Capacity at highest ambient | Δ Cooling Capacity (Max/Min) | Highest Ambient operating temp |  | OEM heat pump | hydro-split | Low GWP
Daikin UPRA043DAVK |  |  |  |  | Daikin UPRA043DAVK
Viessmann |  |  |  |  | Viessmann
Spacepak |  |  |  |  | Spacepak
LG |  |  |  |  | LG
Lochinvar |  |  |  |  | Lochinvar
NTI |  |  |  |  | NTI
Other attributes
| Sound | Total amps (breaker) | COP A5W110
Daikin UPRA043DAVK
Viessmann
Spacepak
LG
Lochinvar
NTI